## LibreVNA Cal 915MHz
LibreVNA Output Power Calibration — 915 MHz
Setup / Conditions
Date | 2026-06-17
Operator
Test frequency (MHz) | 915
Reference plane | VNA cable end @ PCB connector
Power meter | HP 438A
Sensor | HP 8481A
Ref cal factor @ 50 MHz (%) | 100
Meas cal factor @ 915 MHz (%) | 99
Cable / adapter notes
Avg / settling notes | increase averaging below -25 dBm; re-zero first
VNA set (dBm) | HP 438A reading (dBm) | Delta (dBm) | Re-zeroed? | Notes
0
-1
-2
-3
-4
-5
-6
-7
-8
-9
-10
-11
-12
-13
-14
-15
-16
-17
-18
-19
-20
-21
-22
-23
-24
-25
-26
-27
-28
-29
-30
Summary
Mean delta (dBm)
Min delta (dBm)
Max delta (dBm)
Delta span (dBm)
Points entered